|  |  |
| --- | --- |
| **DEPARTMENT OF HEALTH SERVICES**  Division of Public Health  F-01572 (06/2015) | **STATE OF WISCONSIN**  Bureau of Environmental and Occupational Health  DHS.WISCONSIN.GOV  Page 1 of 2 |
| **ICE ARENA LOG OF POLLUTANT EXCEEDANCE** | |
| Whenever carbon monoxide levels exceed 25 ppm and/or nitrogen dioxide levels exceed 0.30 ppm in any area of the arena building, immediate corrective action should be taken. Use this log to keep track of elevated levels of carbon monoxide (CO) and nitrogen dioxide (NO2) and the action taken. | |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **When to Take Action** | | | | |
| **Corrective Action** | 25 ppm for **CO**  0.30 ppm for NO2 | **Immediately**  **Evacuate** | 125 ppm for **CO**  2.00 ppm for NO2 |
| *Immediately increase ventilation and stop the use of gas-powered equipment.* | | *Remove all people from the facility and into fresh air immediately.* | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Time**  **AM / PM** | **Number of Resurface Use Today** | **Carbon Monoxide Level** | **Nitrogen Dioxide Level** | **Description of Action Taken** | **Print Your Name** |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |