| DEPARTMENT OF HEALTH SERVICES Division of Public Health F-02257 (02/2024) |  |  | STATE OF WISCONSIN |  |  |
| --- | --- | --- | --- | --- | --- |
| TEMPERATURE EXCURSION INCIDENT REPORT Wisconsin Immunization Program |  |  |  |  |  |
| In the event of a temperature excursion: - Store the affected vaccines at appropriate temperatures. Ensure the refrigerator/freezer is working properly or move the vaccines to a unit that is. - Do not discard or administer the affected vaccines. Mark the vaccine “DO NOT USE” so the potentially compromised vaccines can be easily identified. - Download and save digital data logger information related to the temperature excursion. - Contact vaccine manufactures to determine viability. Manufactures information is below. - Email/fax completed Temperature Excursion Incident Report to VFC@WI.GOV or 608-267-9493 within two weeks of the incident. - If vaccine has been administered before the excursion was identified, and vaccine was identified as non-viable (spoiled), email VFC@WI.GOV for further guidance. |  |  |  |  |  |
| Facility name, city, and county |  |  |  | PIN |  |
| Name of person reporting incident |  |  |  |  |  |
| Phone number |  |  | Email |  |  |
| Date of occurrence |  |  | Time of occurrence |  |  |
| Excursion Information |  |  |  |  |  |
| Where was the vaccine being stored when it was exposed to out-of-range temperatures? Check all that apply. | Refrigerator Freezer Transport/Shipping Container Room temperature (vaccine inadvertently left out of storage unit) |  |  |  |  |
| What was the temperature inside the affected storage unit(s)/room at the time the problem was discovered? Include both minimum and maximum temperature and room temperature. *Please note that any temperature reading outside the recommended ranges: Refrigerator – between 36°F [2°C] and 46°F [8°C] and Freezer – between -58°F [-50°C] and +5°F [-15°C] are considered a temperature excursion. |  | Refrigerator Min. °C or °F Max. °C or °F |  |  |  |
|  |  | Freezer Min. °C or °F Max. °C or °F |  |  |  |
|  |  | Shipping Container Min. °C or °F Max. °C or °F |  |  |  |
|  |  | Room Temperature °C or °F |  |  |  |
| How long was the vaccine exposed to out-of-range temperatures? Record the total amount of time outside of range. |  |  |  |  |  |
| Briefly describe what happened to cause the temperature excursion: |  |  |  |  |  |
| Continue to Page Two |  |  |  |  |  |

| Have the vaccine manufacturers been contacted to determine viability as required? Yes No Online stability calculators: - GlaxoSmithKline- https://gskusmedicalaffairs.com/stability-calculator/ - Sanofi-Pasteur- https://www.sanofimedicalinformation.com/s/stability-calculator/?language=en_US&CN=US - Merck- https://www.merckmedicalportal.com/s/temperature-stability-calculator - Pfizer- https://www.pfizermedicalinformation.com/en-us/stability-calculator Phone numbers: - Dynavax: 844-375-4728 - GlaxoSmithKline: 888-825-5249 - Massachusetts Biological Labs: 617-474-3220 - MedImmune: 877-633-4411 - Merck: 800-672-6372 - Pfizer: 800-438-1985 - Sanofi-Pasteur: 800-822-2463 - Seqirus: 855-358-8966 |  |
| --- | --- |
| Was the vaccine deemed viable by the vaccine manufacturer? Yes No - If no, submit a Vaccine Return—Request for Authorization to Return, F-02287 to return the spoiled vaccine. Only include vaccine related to the temperature excursion on the return form. |  |
| Briefly describe what actions will be taken to avoid this issue in the future: |  |
| Submit this form and the vaccine return form if applicable to VFC@wi.gov. In the subject line, indicate Temperature Excursion and the facility’s PIN. Temperature Excursion forms can also be faxed to the Immunization Program: 608-267-9493 |  |
| SIGNATURE – Person completing report | Date signed |