| DEPARTMENT OF HEALTH SERVICES Division of Public Health F-02851 (07/2021) | STATE OF WISCONSIN Office of Preparedness and Emergency Health Care Wisconsin Technical College System |
| --- | --- |
| EQUIPMENT LIST Out of Hospital Scenario |  |
| In addition to a live simulated patient or a high-fidelity simulation manikin, the following equipment must be available, and you must ensure that it is working adequately throughout the examination. Sites and candidates can assemble the equipment in a variety of ways that is consistent with delivery of out-of-hospital care in the area. The equipment must be assembled in some way that facilitates transport of the equipment from the vehicle to the scene of the patient. |  |
| **NOTE: Drugs may be expired, filled with saline, or labeled as fake medications** |  |
| # First in Bag: Oropharyngeal airways (Sizes 0 – 6) Nasopharyngeal airway (Minimum pediatric size — Maximum adult size) Blind insertion or supraglottic airway devices (adult and pediatric sizes) Laryngoscope and blades (Sizes 3 – 4 straight and curved) Magill forceps (adult) Tongue depressor Bag valve mask (BVM) with connection tubing (adult and pediatric) Suction (bulb, rigid and flexible catheter) Oxygen administration devices (nasal cannula, partial non-rebreather mask) Non-invasive ventilation techniques (CPAP) Pulse oximetry (can be built-in to the cardiac monitor/defibrillator unit) Glucometer Penlight Trauma shears Stethoscope Sphygmomanometer Sharps container Syringes, 3 of each size (1 mL, 3 mL, 10 mL, 30 mL) Needles (5 – 21 ga.) 10 mL normal saline flush (5) Intranasal atomization device (2) Hemorrhage control (pressure dressing, tourniquet, occlusive dressing, abdominal pad, 4 x 4, Kling® or Kerlex®) Cold packs Hot packs Personal protective equipment (PPE) Oxygen cylinder with regulator |  |
| # The following medications may be included in the “First-in” bag or as part of a separate medication bag: Epinephrine, 1: 1,000 (2 – 10 mcg/min IV/IO; 0.3 mg IM; 5 mg inhaled) Albuterol, (15 mg nebulized [5 mg continuous]) Ipratropium, (1.5 mg nebulized) [0.5 mg up to 3 times in conjunction with albuterol] Oral glucose, (25 gm PO) Glucagon, (2 mg IM/IN) [1 mg administered 2 times] Aspirin, chewable, nonenteric-coated preferred, (325 mg) Naloxone, (2 mg IV/IO/IM/IN/ETT) |  |
| # Other Equipment (Ambulance Equipment) — may be located in a trauma or medical bag. Trauma bag or simple fracture immobilization equipment (SAM splint, pillow, sling & swathe, etc). Must be consistent to all stations. Eye shield (for eye injuries). May be located in the trauma bag. Blanket PPE- available in the station or in the med bag but available to all candidates. Automated external defibrillator (AED) Communication device (live or simulated) such as radios or cell phone to communicate patient report to the hospital. |  |