Multidisciplinary Infection Prevention and Control Rounding

Tool for Oral Health Care Settings

Use this tool when rounding at your oral health clinic to assess areas for infection prevention and control gaps. It is recommended to perform rounding at least quarterly and involve other leaders and frontline staff in the assessment. This assessment can be performed by the infection preventionist, infection control officer, or other designated staff. This tool can be modified as needed to more closely align with your clinic’s policies and procedures.

| Location: |  |
| --- | --- |
| Observer(s): |  |
| Date: |  |

Observations and assessment

Acceptable (A); Needs improvement (NI); Not applicable (NA)

| Criteria | Assessment |  |  | Comments or follow-up actions needed |
| --- | --- | --- | --- | --- |
|  | A | NI | NA |  |
| Clean storage rooms |  |  |  |  |
| Soiled equipment or materials are not present |  |  |  |  |
| Supplies are not stored on floor |  |  |  |  |
| Storage units and shelving have solid bottoms |  |  |  |  |
| Supplies are stored away from windows and vents |  |  |  |  |
| Shelving, drawers, and cabinets are clean |  |  |  |  |
| Expired supplies are not kept and stored |  |  |  |  |
| Sterile patient care supplies are free of dust and unopened |  |  |  |  |
| Corrugated carboard boxes or shipping boxes are not present |  |  |  |  |
| Dental Lab |  |  |  |  |
| Equipment and machines are in good condition and preventive maintenance is complete |  |  |  |  |
| There is a process for disinfecting and shipping dental appliances and dentures appropriately |  |  |  |  |
| Operatories |  |  |  |  |
| Patient care items are stored inside closed cabinets unless in use |  |  |  |  |
| Sterile instruments remain unopened until time of patient arrival |  |  |  |  |
| Cleaning and disinfection is performed after each patient encounter |  |  |  |  |
| PPE is available and used properly |  |  |  |  |
| Used instruments are transported to the sterilization area in a puncture-resistant, leakproof container that is labeled as biohazardous |  |  |  |  |
| Physical facilities |  |  |  |  |
| Floors and walls are clean |  |  |  |  |
| There is no evidence of water intrusion or leaks |  |  |  |  |
| Eye wash stations are maintained per policy |  |  |  |  |
| Fans are dust free and cleaned on a routine basis |  |  |  |  |
| Hand hygiene products (alcohol-based hand rub (ABHR) and soap) are available, within expiration date, and dispensers are in working order |  |  |  |  |
| Furniture is made of wipeable materials and is free of tears, stains, and damage |  |  |  |  |
| Flushing of water fixtures (sinks, toilets) is performed weekly per facility water management plan |  |  |  |  |
| Ceiling tiles are not damaged |  |  |  |  |
| Artwork and decorations are dust free |  |  |  |  |
| ABHR is available |  |  |  |  |
| Vents are clean with no obstructions |  |  |  |  |
| Sterilization area |  |  |  |  |
| There is a clear flow from dirty to clean |  |  |  |  |
| Utility gloves are worn as appropriate |  |  |  |  |
| Ultrasonic fluid is changed daily and when visibly soiled |  |  |  |  |
| Ultrasonic fluid is prepared according to IFUs (detergent and water are measured according to IFU) |  |  |  |  |
| Expired supplies are not kept and stored, including items such as pouches and wraps |  |  |  |  |
| Chemical indicators are used appropriately |  |  |  |  |
| Instruments are allowed to dry completely before packaging |  |  |  |  |
| Spore testing (biological indicator) is performed at least weekly in sterilizers |  |  |  |  |
| Pouches and wraps are labeled per policy |  |  |  |  |
| Preventative maintenance is performed on all equipment, as recommended by the manufacturer |  |  |  |  |
| Instruments are reprocessed according to IFUs |  |  |  |  |
| Sterilization logs are kept and maintained |  |  |  |  |
| Hand hygiene is performed as appropriate |  |  |  |  |
| Sterilized instruments are stored appropriately |  |  |  |  |
| Dental unit waterlines (DUWL) |  |  |  |  |
| DUWL are treated daily with tablets, cartridges, or inline system |  |  |  |  |
| DUWL are flushed for two minutes at the beginning of each day and for 20–30 seconds between each patient |  |  |  |  |
| DUWL are tested per policy |  |  |  |  |
| DUWL are shocked per policy |  |  |  |  |
| DUWL maintenance and testing is recorded in a logbook |  |  |  |  |
| Environmental services |  |  |  |  |
| Environmental Protection Agency (EPA) registered disinfectants are used |  |  |  |  |
| Staff know and follow dwell time for disinfectant being used |  |  |  |  |
| Housekeeping closet or area is clean and has separation of clean and dirty |  |  |  |  |
| Equipment and non-critical patient care items |  |  |  |  |
| Equipment in use is clean |  |  |  |  |
| Stored equipment is clean |  |  |  |  |
| Shared equipment is disinfected between uses |  |  |  |  |
| Disinfectant is readily available for staff use |  |  |  |  |
| Patient care devices or supplies are not stored under sinks or next to sinks where splashing can occur |  |  |  |  |
| Staff know the dwell time (contact time, wet time) of the disinfectant in use and observe the dwell time properly when disinfecting equipment |  |  |  |  |
| Single use items (impression trays, plastic syringes) are used once and discarded, not reprocessed. Note: If there are no IFUs for reprocessing, the item is considered single use |  |  |  |  |
| Medications |  |  |  |  |
| Medications are not expired |  |  |  |  |
| Carpules are used for one patient and one procedure only |  |  |  |  |
| Dental cartridge syringes are reprocessed appropriately after each patient use |  |  |  |  |
| Supplies are not stored within splash zone of sink (3 feet), or a splash guard is in place |  |  |  |  |
| A process is in place to prevent contamination of multi-use products such as lip balm and topical oral anesthetic |  |  |  |  |
| Glucometers, if in use, are disinfected following IFUs after each use |  |  |  |  |
| Sharps safety devices are available |  |  |  |  |
| Sharps safety devices are used appropriately |  |  |  |  |
| Personal protective equipment (PPE) use |  |  |  |  |
| A respiratory protection program has been established per Occupational Safety and Health Administration (OSHA) recommendations, including respirator fit testing if respirators are offered for employee use |  |  |  |  |
| Protective gowns or cover jackets with long sleeves are worn during patient care |  |  |  |  |
| Gowns or cover jackets are changed at the end of the workday and when visibly soiled |  |  |  |  |
| Washable gowns or cover jackets are laundered per instructions for use (IFU) |  |  |  |  |
| Gowns or cover jackets are laundered at the clinic and not taken home to launder by employees |  |  |  |  |
| PPE is readily accessible |  |  |  |  |
| Exam gloves are available in multiple sizes |  |  |  |  |
| Exam gloves are changed after each patient |  |  |  |  |
| Exam gloves are changed when moving from a dirty task to a clean task |  |  |  |  |
| Exam gloves are changed if they become damaged |  |  |  |  |
| Exam gloves are never washed or reused |  |  |  |  |
| Utility gloves are worn while reprocessing instruments |  |  |  |  |
| Utility gloves are washed and hung to dry between uses |  |  |  |  |
| Masks are worn appropriately covering mouth and nose |  |  |  |  |
| Masks are changed between every patient encounter and if they become wet or torn |  |  |  |  |
| Eye protection is worn during patient care when splashes and sprays are expected |  |  |  |  |
| Eye protection is worn when reprocessing instruments |  |  |  |  |
| Respiratory hygiene |  |  |  |  |
| Respiratory hygiene or cough etiquette signage is in place |  |  |  |  |
| ABHR is available |  |  |  |  |
| Tissues and waste receptacles are accessible |  |  |  |  |
| Masks are available |  |  |  |  |
| Waste management |  |  |  |  |
| Waste containers are clean, operational, and in good condition |  |  |  |  |
| Containers are labeled as required |  |  |  |  |
| Regulated medical waste is discarded appropriately |  |  |  |  |
| Clean items are stored separately from dirty items |  |  |  |  |
| Soiled linen is bagged appropriately |  |  |  |  |
| Sharps containers are available, secured appropriately, and not overfilled |  |  |  |  |

Observations requiring corrective action and follow-up

| Observation requiring corrective action | Tactics and actions to achieve outcomes | Responsible department or person | Due date |
| --- | --- | --- | --- |
| Staff did not allow disinfectant to remain on operatory surfaces for the full 3-minute dwell time listed on the product’s label. | Ensure staff are educated on the dwell time of the clinic’s disinfectant. Perform random observations to be sure dwell time is consistently met. | Infection Control Officer | 9/1/2026 |

For more information on infection prevention and control, visit the Wisconsin Healthcare-Associated Infections (HAI) Prevention Program: Infection Prevention in Oral Health Settings website (https://www.dhs.wisconsin.gov/hai/oral-health.htm).