Severe Weather Planning Objectives (HICS Scenario Planning Guides www.emsa.ca.gov, 2009)

Monitor pre-event weather forecasts and projections?

Initiate severe storm facility hardening actions (i.e., protect windows; secure outside loose items; test back up generators; obtain supplemental supplies of essential items (food, water, medications, lighting); protect basement high risk areas; relocate at-risk items to higher levels; activate amateur radio operators, top off fuel tanks, etc.)?

Modify contingency staff utilization and provide staff support (i.e., alternate shifts and staffing, medical staff coverage needs, childcare contingency plan for staff, staff transportation needs, etc.)?

Plan to evaluate the need for cancellation of elective surgeries and procedures?

Plans for loss of power or loss of other utilities and services?

Procedures to communicate situation and safety information to staff, patients and families?

Procedures to evaluate need for and obtain additional staff?

Process to determine the need for partial or complete evacuation of the facility?

Plan to provide regular media briefings and updates?

Plan to communicate with the local EOC about the situation status, critical issues and request assistance?

Surge capacity plan that includes triggers and criteria for activation?

Security plan to manage the patient surge and facility security?

Alternate care sites including set up, equipment, staffing and signage?

MOUs with fuel suppliers to ensure a supply of fuel for emergency generators and vehicles, if needed?

Identify and/or have MOUs with contractors that can perform repairs after the storm?

Relocating hazardous materials/chemical agents to prevent contamination in case of flooding?